## Sheet1
Hamilton County Public Works - Exhibit 33
Project Name: |  | MILLIS TRUCKING |  |  | Date: | 2016-04-04
Project Address: |  | JACKSON ROAD |  |  | Designer: | STEVE LEESMAN
Exhibit 33 PRE Q10 to POST Q100 Stage Two Volume and Q10 Release
EDIT GRAY CELLS - BLUE CELLS EQUAL RESULTS
Data Required:
a1 | On-site pre-development drainage area (acres) section ST 711(d) (1) | [5 empty] | 7.5
a2 | Off-site drainage area (acres) section ST 711 (d) (1) | [5 empty] | 0
a3 | Total pre-development drainage area (acres) | [5 empty] | 7.5
a4 | On-site post development drainage area to release structure | [5 empty] | 7.5
a5 | Total post- development drainage area (acres) a2+a4 | [5 empty] | 7.5
c1 | On-site pre-development run-off coefficient, Section ST 711 (f) | [5 empty] | 0.35
c2 | Off-site pre-development run-off coefficent, Section ST 711 (f) | [5 empty] | 0.35
c3 | Adjusted pre-development run-off coefficent | [5 empty] | 0.35
c4 | On-site post -development run-off coefficent, Section ST 711 (g) | [5 empty] | 0.9
c5 | Off-site post-development run-off coefficent, Section ST 711 (g) | [5 empty] | 0.35
c6 | Adjusted post-development runoff coefficent | [5 empty] | 0.9
tc10 | Pre-development time of concentration. Exhibit No. 5 | [5 empty] | 10
tc100 | Post- development time of concentration, Exhibit No. 5 | [5 empty] | 10
Pre-Development 10 Year Storm
I10 | = | 5.1515 | in/hr
Pre Q10 | = | 13.5227 | cfs | Maximum Release Rate
Storm Duration Producing Maximum Detention Storage
Tc | = | 51.7615 | minutes
Rainfall Intensity
I100 | = | 3.504 | in/hr
Post Q100 | = | 23.6523 | cfs | Peak Rate of Flow Post-Development Q100
Volume | = | 40822.496 | cu.ft. | Required Detention Storage Volume
Volume | = | 0.93716 | acre ft.